NEATH PORT TALBOT COUNTY BOROUGH COUNCIL

The Town and Country Planning (Development Management Procedure) 
(Wales) Order 2015 (as amended)

HEAD OF ENGINEERING & TRANSPORT

DRAINAGE OBSERVATIONS


PLANNING APPLICATION NO:	2/3/20/0362/00
APPLICANT:		MR ROB THOMPSON
LOCATION:	LAND AT AND SURROUNDING, NANT HELEN OPEN CAST COAL SITE, POWYS AND ONLLWYN DISTRIBUTION CENTRE, NEATH PORT TALBOT
PROPOSAL:	CONSTRUCTION OF COMPLEMENTARY RESTORATION EARTHWORKS TO CREATE 2 LOOPED LANDFORM PLATFORMS (PART IN CUTTING AND PART ON EMBANKMENT) WITH ASSOCIATED DRAINAGE INFRASTRUCTURE AND AREAS OF LANDSCAPING AND HABITAT CREATION TO CREATE A FLEXIBLE AND ADAPTABLE AREA OF LAND THAT COULD BE USED FOR A VARIETY OF USES INCLUDING AGRICULTURE, NATURE CONSERVATION, LEISURE, TOURISM AND INDUSTRIAL, RESEARCH AND DEVELOPMENT/BUSINESS USES (POTENTIALLY INCLUDING A PROPOSED RAIL TESTING, RESEARCH AND DEVELOPMENT AND STORAGE FACILITY). (CROSS-BOUNDARY APPLICATION - SEE POWYS CC APPLICATION REF. 20/0738/FUL)


The Highway Authority, in responding to the above application, provides the following substantive response: 

	No comment
	☐
	No objection  (subject to any specified conditions below)
	☐
	Concerns have been identified (see below for how those concerns can be addressed by the applicant
	☒
	Objection – on the grounds set out below
	☐


MY DRAINAGE OBSERVATIONS ON THIS PROPOSAL ARE AS FOLLOWS:-

I have concerns that no SAB application has been submitted to date.

[bookmark: _GoBack]I have submitted an email to Powys CC regarding the SAB prelim application and we about to arrange a meeting between officers.

It is assumed that each authority will remain responsible for their own watercourse consenting application based up the fact that each consent is based upon coordinates and locations so this would make sense.

Standard Observations for land drainage

1. Should any springs or ground water seepage be encountered the on site works in that area shall cease until a scheme for collection and disposal of the water has been submitted to and approved in writing by the Local Planning Authority. No ground water shall ever be dischareged into the proposed drainage scheme.

Reason
To ensure the water is dispossed of without overloading the drainage system.


2. There must be no interference, alteration or diversion of any ditch, watercourse, stream or culvert crossing or bordering the site, without prior consultation and agreement with the Authority.

Reason
To ensure the satisfactory drainage of the site and protect adjacent properties.


3. No surface water or Land drainage run-off shall be allowed to connect, either directly or indirectly, to the public sewerage system unless otherwise approved in writing by the Local Planning Authority.

Reason
To prevent hydraulic overloading of the public sewerage system, to protect the health and safety of existing residents and ensure no detriment to the environment.



4. Adequate provision shall be made for the drainage of the site during construction phases, to ensure that the drainage of any adjoining land is not interrupted or otherwise adversely effected by the development.

Reason: 
To ensure satisfactory drainage of the site


NOTES TO APPLICANT

Prior to commencement of any works within a watercourse, hereby approved permanent and temporary under Section 23 of the Land Drainage Act 1991 must be obtained from the Authority.  You are therefore advised to contact the Development Management Engineer, Mr Justin Griffiths at The Quays, Brunel Way, Baglan Energy Park, Neath, SA11 2GG (Tel.No.01639 686397 e-mail j.griffiths4@npt.gov.uk .  Please note such consents can take up to 8 weeks to be processed after registration and early application is advised.

Notwithstanding the necessary consent required under section 23 of the Land Drainage Act 1991. The applicant must note that any culverts/ditches/open watercourses that conveys water through their land are to remain free from obstruction at all times. All tributary watercourses (culverted or not) located within the applicants land would be riparian responsibilities whereby the responsibility to sustain the flow of watercourse would remain with the land owner and subsequently passed on to the respective landowners thereafter should the land be sold. For further information on riparian responsibilities please contact Mr Justin W. Griffiths Senior Engineer – Team Leader (Tel: 01639 686397 or email j.griffiths4@npt.gov.uk), alternatively you could access the riparian booklet online using the following web-link https://www.npt.gov.uk/2867 





SIGNED: …………………….……		DATE:    	08/06/2020		
HEAD OF ENGINEERING & TRANSPORT
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