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Neath and Port Talbot County Council
The Quays 

Brunel Way Baglan Energy Park

Neath
Neath Port Talbot
SA11 2GG

	
	Date: 12/06/2020

	
	Our Ref: PLA0049499

	
	Your Ref: P2020/0362


Dear Sir/Madam
Grid Ref: SN809113 282606 211162

Site: Nant Helen Open Cast Coal Site, Powys & Onllwyn Distribution Centre, Neath Port Talbot

Development: Construction of complementary restoration earthworks to create 2 looped landform platforms,drainage infrastructure,Cross-boundary  application Powys CC Application ref. 20/0738/FUL)

We refer to your planning consultation relating to the above site, and we can provide the following comments in respect to the proposed development. 
The proposed development site lies adjacent to a strategic asset in the form of a 500mm trunk watermain located to the west and north, along with various other public sewer and watermain assets. In this instance whilst it does not appear any part of the site lies within the protection zone of the 500mm watermain, measured 6 metres either side of the centreline, the site is located within the boundary of the permission granted for the wider restoration scheme of Nant Helen Surface Mine (Ref: 19/1899/REM) and in this respect we remind of the requirements of conditions 23 – 30, relating to water management, alongside conditions relating to blasting and vibration (15 – 19).

For the purposes of this latest application we offer no objection in principle subject to inclusion of the following Condition and Advisory Notes, if minded to grant planning consent, to ensure no detriment to existing residents or the environment and to Dwr Cymru Welsh Water's assets:

Condition 

No surface water and/or land drainage shall be allowed to connect directly or indirectly with the public sewerage network.

Reason: To prevent hydraulic overloading of the public sewerage system, to protect the health and safety of existing residents and ensure no pollution of or detriment to the environment.

Advisory Notes

As of 7th January 2019, this proposed development may be subject to Schedule 3 of the Flood and Water Management Act 2010 and therefore approval of Sustainable Drainage Systems (SuDS) features will be required in accordance with the 'Statutory standards for sustainable drainage systems – designing, constructing, operating and maintaining surface water drainage systems'. It would therefore be recommended that the developer engage in consultation with the relevant local authorities, as the determining SuDS Approval Bodies (SABs), in relation to their proposals for SuDS features. Please note, Dwr Cymru Welsh Water is a statutory consultee to the SAB application process and will provide comments to any SuDS proposals by response to SAB consultation.

The applicant is also advised that some public sewers and lateral drains may not be recorded on our maps of public sewers because they were originally privately owned and were transferred into public ownership by nature of the Water Industry (Schemes for Adoption of Private Sewers) Regulations 2011. The presence of such assets may affect the proposal. In order to assist us in dealing with the proposal the applicant may contact Dwr Cymru Welsh Water to establish the location and status of the apparatus. Under the Water Industry Act 1991 Dwr Cymru Welsh Water has rights of access to its apparatus at all times.

Our response is based on the information provided by your application.  Should the proposal alter during the course of the application process we kindly request that we are re-consulted and reserve the right to make new representation.

If you have any queries please contact the undersigned on 0800 917 2652 or via email at developer.services@dwrcymru.com
Please quote our reference number in all communications and correspondence.
Yours faithfully, 
Sion Jones
Development Control Officer
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Glas Cymru Cyfyngedig




Welsh Water is owned by Glas Cymru – a ‘not-for-profit’ company.

Mae Dŵr Cymru yn eiddo i Glas Cymru – cwmni ‘nid-er-elw’.
	We welcome correspondence in

Welsh and English

Dŵr Cymru Cyf, a limited company registered in

Wales no 2366777. Registered office: Pentwyn Road,

Nelson, Treharris, Mid Glamorgan CF46 6LY
	Rydym yn croesawu gohebiaeth yn y

Gymraeg neu yn Saesneg

Dŵr Cymru Cyf, cwmni cyfyngedig wedi’i gofrestru yng

Nghymru rhif 2366777. Swyddfa gofrestredig: Heol Pentwyn

Nelson, Treharris, Morgannwg Ganol CF46 6LY.
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