ACTION PLAN
Re: PLANNING APPLICATION NO: P2022/1059

Dear Sirs,
Further to the decision notice, please see below in respect of the action conditions. We have discussed points 5 and 6 with the Environmental Health Department within NPT Council and understand that this should satisfy the conditions within the planning approval.
3. Noted and agreed
4. Noted, this will be in situ prior to the first beneficial use of the café and shop.
5. Please see attached the specifications for the extraction scheme that shall be in place before the first beneficial use of the café and shop. We have already submitted these to your colleague in EHO who has advised they are suitable. It is the use of internal charcoal filters and an external fan to re-circulate the air within the kitchen 30 times pr hour. As this is an internal re-circulation system there will be no noise issues for neighbouring properties making it the best option for the premises as it is situated within a residential area.
6. In respect of noise within the building; there will be no playing of live or loud music as per the Regulatory Condition 7. The party walls to the café area of the building do not connect with any neighbouring properties and therefore will not cause a nuisance to these parties. The construction of the building is such that the exterior walls are approximately 600mm thick and the windows are double glazed, this assists in containing all noise from the café and shop within the building. The extraction system detailed above is internal and runs at 62 decibels and therefore will have no effect on neighbouring properties.





