NEATH PORT TALBOT COUNTY BOROUGH COUNCIL

The Town and Country Planning (Development Management Procedure) 
(Wales) Order 2015 (as amended)

HEAD OF ENGINEERING & TRANSPORT

LLFA – LOCAL LEAD FLOOD AUTHORITY OBSERVATIONS


PLANNING APPLICATION NO:	2/3/25/0646/00
APPLICANT:		MR NEAL HUNTER
LOCATION:	FORMER BRITON FERRY HEALTH CENTRE, HUNTER STREET, BRITON FERRY, NEATH PORT TALBOT, SA11 2SF
PROPOSAL:	SECTION 73 APPLICATION (VARIATION OF CONDITION) TO AMEND THE APPROVED DEVELOPMENT FOR (I) A REDUCTION IN THE NUMBER OF BEDROOMS AT THE CARE HOME FROM 40 TO 24; (II) A REDUCTION TO THE FOOTPRINT OF THE BUILDING; (III) CHANGES TO THE ROOF FORM AND ELEVATIONS/ MATERIALS AND (IV) A REVISED LANDSCAPING, PLANTING AND BOUNDARY TREATMENT SCHEME WITH THE VARIATION OF PLANNING CONDITION 2 (APPROVED PLANS), 6 (HARD LANDSCAPING AND PLANTING SCHEME), 8 (DEMOLITION AND CONSTRUCTION METHOD STATEMENT),  9 (OBSCURE GLAZING) AND 12 (ENCLOSURES) OF PLANNING PERMISSION P2023/0767 GRANTED 23.08.2024.


The Highway Authority, in responding to the above application, provides the following substantive response: 

	No comment
	☐

	No objection  (subject to any specified conditions below)
	☐

	Concerns have been identified (see below for how those concerns can be addressed by the applicant
	☒

	Objection – on the grounds set out below
	☐



MY LLFA – LOCAL LEAD FLOOD AUTHORITY OBSERVATIONS ON THIS PROPOSAL ARE AS FOLLOWS:-

A full FCA report is required.

A copy of the GI report referenced in your submission should be provided.
We are aware that both Ritson Street and Hunter Street experience reoccurring flooding. The gullies discharge to a DCWW combined sewer asset. The last reported flooding incidence was 15/09/2025 but we have no further information on the frequency of this flooding.


NOTES TO APPLICANT
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SIGNED: …………………….……		DATE: 	24/10/2025		
pp HEAD OF ENGINEERING & TRANSPORT
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