


General Environmental Health Planning Consultation Response

Planning Application Ref: P2026/0266
Address: Land At Heol Crwys Cwmavon Neath Port Talbot SA12 9NT
Description of Development: Details to be agreed in association with Condition 16 (Verification) of application P2025/0369 determined 16.02.2024.
Planning Case Officer: Matthew Griffiths
Comments provided by: Muttakir Mohammed
Our Ref: 
Date: 20/06/2026



The General Environmental Health Planning Consultation response to the above application has considered the following relevant areas:

	Noise
	☐	Air Quality
	☐	Contaminated Land
	☒
	Odour
	☐	Housing
	☐	Other (please specify)

	☐


The Environmental Heath Team, in responding to the above application, provides the following substantive response:

	No Objection
	☐
	No Objection subject to conditions
(see the specified conditions below)
	☐
	Requires further information (see details below)
	☐
	Objection (on the grounds set out below) 
	☐
	Partial Discharge of planning conditions
	☒
	Discharge of planning conditions not recommended
	☐



Overall Recommendation

Partial discharge of planning condition 16 (verification) of application P2025/0369, build phase 1 of 2, Plots 1 to 21 and 40 to 43 only. Future verification reports for the outstanding plots must include evidence of the geotextile separation membrane. 







Observations and Comments

Comments are for the following letter report:

Remediation and Validation Measures Regarding the Redevelopment at Heol Crwys in Cwmavon Validation Report (Build Phase 1of 2, Plots 1 to 21 and 40 to 43). 
ICW Insurance Services Limited Reference:50080/29
Planning Permission Number P2023/0369
27th April 2026

The remediation scheme includes a geotextile separation layer as well as a 600mm thickness of clean suitable for use capping layer. The above letter report did not provide clear evidence of the geotextile membrane installed in the garden plots. Going forward for the verification of the remaining plots, evidence of the geotextile membrane must be clearly provided including photographic evidence.

For this application the verification report for Build Phase 1of 2, Plots 1 to 21 and 40 to 43 will be accepted and the Pollution Team agree to the partial discharge of condition 16. 
  

Recommended Conditions

Partial discharge of planning condition 16 (verification) of application P2025/0369, build phase 1 of 2, Plots 1 to 21 and 40 to 43 only. Future verification reports for the outstanding plots must include evidence of the geotextile separation membrane. 





