Developer Services
PO Box 3146
Cardiff
CF30 0EH
Tel / Ffôn: +44 (0)800 917 2652
Email / Ebost: developer.services@dwrcymru.com

Gwasanaethau Datblygu
Blwch Post 3146
Caerdydd 
CF30 0EH

	Neath Port Talbot
The Quays Brunel Way Baglan Energy Park 
Neath
SA11 2GG
	

	

	
Date: 10th July 2026

	
	Our Ref: 1000417
Your Ref: 26/0219/PA


	Grid Ref: 274582,196807
	


 Site: Melyn, Neath, 
Development: Request for Screening opinion under Regulation 6 of the Town and Country Planning (Environment Impact Assessment) (Wales) Regulations 2017 for a proposed Flood Alleviation Scheme
We refer to your planning consultation relating to the above site, and we can provide the following comments in respect to the proposed development.  
Asset Protection
This site is crossed by public sewers (900mm, 975mm and a 1350mm Brick Egg) with their approximate position being marked on the attached Statutory Public Sewer Record. In accordance with the Water Industry Act 1991, Dwr Cymru Welsh Water requires access to its apparatus at all times in order to carry out maintenance and repairs. No part of any building will be permitted within the protection zone of the public sewers measured 4.5 metres either side of the 900mm and 975mm either side of the centreline and 6.75mm either side of the 1350 mm brick egg sewer. Please note, the distance specified for this protection zone is indicative and based on industry standard guidelines. However, the depth of the asset will need to be verified on site which may infer a greater protection zone. For completeness, we recommend the developer refer to their title deeds to confirm if there are any covenants or restrictions associated with the assets crossing the proposed development site.
Conclusion
Accordingly, it is recommended that the developer contact our Plan and Protect team (PlanandProtect@dwrcymru.com) to carry out a survey to verify the location of this asset and establish its relationship to the proposed development. Our strong recommendation is that your site layout takes into account the location of the assets crossing the site and should be referred to in any master-planning exercises or site layout plans submitted as part of any subsequent planning application. Further information regarding Asset Protection is provided in the attached Advice & Guidance note.
We do not have any further comments to make in respect of the screening opinion for a proposed Flood Alleviation Scheme. However, we would welcome further consultation at the scoping opinion stage if your screening assessment concluded that the planning application should be accompanied by an Environmental Statement.
Our response is based on the information provided by your application.  Should the proposal alter during the course of the application process we kindly request that we are re-consulted and reserve the right to make new representation.
If you have any queries please contact the undersigned on 0800 917 2652 or via email at developer.services@dwrcymru.com. Please quote our reference number in all communications and correspondence.
Yours sincerely,
Developer Services
Dŵr Cymru Welsh Water
We’re not-for-profit. Every single penny we make goes back into looking after your water and environment. You can contact us in Welsh or English.
Rydym yn gwmni nid-er-elw. Mae pob ceiniog a wnawn yn mynd i ofalu am eich dŵr a’ch amgylchedd. Cysylltwch a ni yn Gymraeg neu’n Saesneg.

Dŵr Cymru Cyf (2366777)
A limited Company registered in Wales
Cwmni cyfyngedig wedi’i gofrestu yng Nghymru: Linea, Fortran Road, St Mellons, Cardiff, CF3 0LT
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