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Date: 27th July 2026

	
	Our Ref: 1000922
Your Ref: P2026/0455


	
	


Grid Ref: 279428,194236
Site: Jerusalem Chapel Station Road Pontrhydyfen, Neath & Port Talbot, SA12 9SG
Development: Renovation and change of use of Jerusalem Chapel to residential accommodation (C3) with small additional extensions to side annexe plus new parking arrangement.
We refer to your planning consultation relating to the above site, and we can provide the following comments in respect to the proposed development.  
As of 7th January 2019, this application may be subject to Schedule 3 of the Flood and Water Management Act 2010 and therefore may require approval of Sustainable Drainage Systems (SuDS) features, if the proposed development amounts to an area exceeding 100 square metres.
Accordingly, if minded to grant planning consent, we would request that the following Condition and Advisory Notes are included to ensure no detriment to existing residents or the environment and to Dwr Cymru Welsh Water's assets:
Condition 
No surface water from any increase in the roof area of the building /or impermeable surfaces within its curtilage shall be allowed to drain directly or indirectly to the public sewerage system.
Reason: To prevent hydraulic overloading of the public sewerage system, to protect the health and safety of existing residents and ensure no pollution of or detriment to the environment.
Advisory Notes
The planning permission herby granted does not extend any rights to carry out any works to the public sewerage or water supply systems without first having obtained the necessary permissions required by the Water industries Act 1991.
The applicant is also advised that some public sewers and lateral drains may not be recorded on our maps of public sewers because they were originally privately owned and were transferred into public ownership by nature of the Water Industry (Schemes for Adoption of Private Sewers) Regulations 2011. The presence of such assets may affect the proposal. In order to assist us in dealing with the proposal the applicant may contact Dwr Cymru Welsh Water to establish the location and status of the apparatus. Under the Water Industry Act 1991 Dwr Cymru Welsh Water has rights of access to its apparatus at all times.
As of 7th January 2019, this proposed development may be subject to Schedule 3 of the Flood and Water Management Act 2010. The development may therefore require approval of Sustainable Drainage Systems (SuDS) features, from the determining SuDS Approval Body (SAB), in accordance with the 'Statutory standards for sustainable drainage systems – designing, constructing, operating and maintaining surface water drainage systems'.
Our response is based on the information provided by your application.  Should the proposal alter during the course of the application process we kindly request that we are re-consulted and reserve the right to make new representation.
If you have any queries please contact the undersigned on 0800 917 2652 or via email at developer.services@dwrcymru.com. Please quote our reference number in all communications and correspondence.

Yours sincerely,
Developer Services
Dŵr Cymru Welsh Water
We’re not-for-profit. Every single penny we make goes back into looking after your water and environment. You can contact us in Welsh or English.
Rydym yn gwmni nid-er-elw. Mae pob ceiniog a wnawn yn mynd i ofalu am eich dŵr a’ch amgylchedd. Cysylltwch a ni yn Gymraeg neu’n Saesneg.

Dŵr Cymru Cyf (2366777)
A limited Company registered in Wales
Cwmni cyfyngedig wedi’i gofrestu yng Nghymru: Linea, Fortran Road, St Mellons, Cardiff, CF3 0LT
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